## Cooldown 1
Sample ID |  | 240930_U3
R_sheet (RT) |  | 371 | Tc |  | 9.52 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 486 | Film thickness |  | 7.4 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  | Holder Nr |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | 3.691 | 2.565 | 2.104 | 2.126 | x | 0.1298 | 0.1769 | 0.1291 |  |  | 1 | 1.1117 | 0.98943 | 0.97043 | 0.98058 |  | 0.69973 | 0.95364 | 0.69596 | 1 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | 3.572 | 2.514 | 2.058 | 2.074 | 1.686 | 1.698 | 1.398 | 1.397 |  |  | 2 | 1.0758 | 0.96976 | 0.94922 | 0.9566 | 0.9579 | 0.96472 | 0.94806 | 0.94738 | 2 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | 3.337 | x | x | x | 1.63 | 1.631 | 1.351 | 1.361 |  |  | 3 | 1.005 |  |  |  | 0.92608 | 0.92665 | 0.91618 | 0.92297 | 3 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | 3.333 | 2.606 | 2.057 | 2.046 | 1.633 | x | 1.334 | 1.333 |  |  | 4 | 1.0038 | 1.0052 | 0.94876 | 0.94368 | 0.92779 |  | 0.90465 | 0.90398 | 4 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | x | 2.531 | 2.082 | 2.065 | 1.651 | 1.632 | 1.336 | 1.33 |  |  | 5 |  | 0.97631 | 0.96029 | 0.95245 | 0.93801 | 0.92722 | 0.90601 | 0.90194 | 5 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | 3.377 | 2.551 | 2.076 | 2.065 | 1.647 | 1.641 | 1.345 | 1.334 |  |  | 6 | 1.0171 | 0.98403 | 0.95752 | 0.95245 | 0.93574 | 0.93233 | 0.91211 | 0.90465 | 6 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | 3.396 | 2.563 | 2.084 | 2.074 | 1.65 | 1.637 | 1.343 | 1.334 |  |  | 7 | 1.0228 | 0.98866 | 0.96121 | 0.9566 | 0.93745 | 0.93006 | 0.91076 | 0.90465 | 7 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | 0.02195 | 0.0222 | 1.388 | 1.384 | 1.375 | 1.367 | 1.358 | 1.353 |  |  | 8 | 0.59164 | 0.59838 | 0.96405 | 0.96127 | 0.95502 | 0.94946 | 0.94321 | 0.93974 | 8 | 0.0371 | 0.0371 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | 3.451 | 2.555 | 2.0768 | 2.075 | 1.6495 | 1.6478 | 1.3512 | 1.3482 |  |  | Average | 1.0394 | 0.98557 | 0.9579 | 0.95706 | 0.93716 | 0.9362 | 0.9163 | 0.91426
Max | 3.691 | 2.606 | 2.104 | 2.126 | 1.686 | 1.698 | 1.398 | 1.397 |  |  | Max | 1.1117 | 1.0052 | 0.97043 | 0.98058 | 0.9579 | 0.96472 | 0.94806 | 0.94738 | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded.
[11 empty] | Average of all widths | 0.95548 |  |  | Maximum of all widths | 1.1117
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | 7.59 | 14.96 | 28.04 | 20.37 | x | 20.37 | 15.53 | 20.02 |  |  | 1 | 0.30128 | 0.52785 | 0.89043 | 0.64686 |  | 0.64686 | 0.49316 | 0.63575 | 1 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
2 | 3.55 | 14.76 | 19.41 | 5.19 | 23.63 | 28.52 | 23.9 | 17.74 |  |  | 2 | 0.14092 | 0.52079 | 0.61638 |  | 0.68217 | 0.82334 | 0.63246 | 0.46945 | 2 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
3 | 16.54 | x | x | x | 24.17 | 24.17 | 29.6 | 23.72 |  |  | 3 | 0.65655 |  |  | 0.16481 | 0.69776 | 0.69776 | 0.7833 | 0.6277 | 3 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
4 | 5.41 | 18.93 | 25.16 | 23.56 | 23.09 | x | 16.46 | 25.8 |  |  | 4 | 0.21475 | 0.66793 | 0.79897 | 0.74816 | 0.66658 |  | 0.43558 | 0.68274 | 4 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
5 | x | 19.89 | 27.08 | 18.98 | 26.88 | 24.72 | 32.32 | 27.56 |  |  | 5 |  | 0.7018 | 0.85994 | 0.60272 | 0.77599 | 0.71363 | 0.85528 | 0.72932 | 5 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
6 | 18.49 | 19.41 | 23.73 | 23.63 | 16.3 | 13.58 | 9.59 | 31.78 |  |  | 6 | 0.73395 | 0.68486 | 0.75356 | 0.75038 | 0.47056 | 0.39204 | 0.25378 | 0.84099 | 6 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
7 | 12.62 | 10.55 | 24.68 | 15.53 | 30.15 | 30.57 | 16.46 | 27.96 |  |  | 7 | 0.50094 | 0.37225 | 0.78373 | 0.49316 | 0.87039 | 0.88252 | 0.43558 | 0.7399 | 7 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
8 | >100 | >100 | 5 | 25.26 | 27.43 | 28.98 | 24.17 | 27.43 |  |  | 8 |  |  | 0.15878 | 0.80215 | 0.87105 |  | 0.76753 | 0.87105 | 8 | 157.4527 | 157.4527 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
Average | 10.7 | 16.4167 | 24.6833 | 17.8767 | 24.0367 | 24.312 | 21.3883 | 25.76 |  |  | Average | 0.42473 | 0.57924 | 0.78383 | 0.56768 | 0.69391 | 0.70186 | 0.566 | 0.68169
Max | 18.49 | 19.89 | 28.04 | 23.63 | 30.15 | 30.57 | 32.32 | 31.78 |  |  | Max | 0.73395 | 0.7018 | 0.89043 | 0.75038 | 0.87039 | 0.88252 | 0.85528 | 0.84099
[11 empty] | Average of all widths | 0.62487 |  |  | Maximum of all widths | 0.89043 |  | Number of detectors | 47
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 7 | 14.8936 | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 18 | 38.2979
[14 empty] | Yield >70% of Qmax |  | 32 | 68.0851
Summary | [13 empty] | Yield >60% of Qmax |  | 34 | 72.3404
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | 0.477 | 0.65053 | 0.88029 | 0.63754 | 0.7793 | 0.78822 | 0.63565 | 0.76557
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | 0.57869 | 0.82537 | 0.88029 | 0.75652 | 0.79724 | 0.79529 | 0.66177 | 0.81057
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | 0.70176
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | 3.451 | 2.555 | 2.0768 | 2.075 | 1.6495 | 1.6478 | 1.3512 | 1.3482
Maximum | 3.691 | 2.606 | 2.104 | 2.126 | 1.686 | 1.698 | 1.398 | 1.397
Stdv | 0.13395 | 0.028977 | 0.016149 | 0.024644 | 0.018228 | 0.5662 | 0.4114 | 0.42717
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 10.7 | 16.4167 | 24.6833 | 17.8767 | 24.0367 | 24.312 | 21.3883 | 25.76
Maximum | 18.49 | 19.89 | 28.04 | 23.63 | 30.15 | 30.57 | 32.32 | 31.78
Stdv | 5.5865 | 3.3323 | 2.7675 | 6.3152 | 4.211 | 5.5555 | 7.6573 | 4.4888
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 1.0394 | 0.98557 | 0.9579 | 0.95706 | 0.93716 | 0.9362 | 0.9163 | 0.91426
Maximum | 1.1117 | 1.0052 | 0.97043 | 0.98058 | 0.9579 | 0.96472 | 0.94806 | 0.94738
Stdv | 0.040345 | 0.011178 | 0.0074487 | 0.011367 | 0.010356 | 0.089101 | 0.018873 | 0.077886
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 0.42473 | 0.57924 | 0.78383 | 0.56768 | 0.69391 | 0.70186 | 0.566 | 0.68169
Maximum | 0.73395 | 0.7018 | 0.89043 | 0.75038 | 0.87039 | 0.88252 | 0.85528 | 0.84099
Stdv | 0.22175 | 0.11758 | 0.087884 | 0.20054 | 0.12156 | 0.15602 | 0.19689 | 0.10744
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 0.13375 | 0.18241 | 0.24683 | 0.17877 | 0.21852 | 0.22102 | 0.17824 | 0.21467
Maximum | 0.23112 | 0.221 | 0.2804 | 0.2363 | 0.27409 | 0.27791 | 0.26933 | 0.26483
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | 21.858 | 0.95212 | 21.858 | 0.69411 | 0.21858
Maximum | 27.43 | 0.96405 | 27.43 | 0.87105 | 0.2743
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23

## Cooldown 2
Sample ID |  | 240930_U3 | <-- | Add your sampel ID in cell D1
R_sheet (RT) |  | 371 | Tc |  | 9.52 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 486 | Film thickness |  | 7.4 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | [10 empty] | 2 | [8 empty] | 2 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | [10 empty] | 3 | [8 empty] | 3 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | [10 empty] | 4 | [8 empty] | 4 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | [10 empty] | 5 | [8 empty] | 5 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | [10 empty] | 6 | [8 empty] | 6 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | [10 empty] | 7 | [8 empty] | 7 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | [10 empty] | 8 | [8 empty] | 8 | 0.0371 | 0.0371 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded. | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
2 | [10 empty] | 2 | [8 empty] | 2 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
3 | [10 empty] | 3 | [8 empty] | 3 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
4 | [10 empty] | 4 | [8 empty] | 4 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
5 | [10 empty] | 5 | [8 empty] | 5 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
6 | [10 empty] | 6 | [8 empty] | 6 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
7 | [10 empty] | 7 | [8 empty] | 7 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
8 | [10 empty] | 8 | [8 empty] | 8 | 157.4527 | 157.4527 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths |  |  | Number of detectors | 0
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 0 | #DIV/0! | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 0 | #DIV/0!
[14 empty] | Yield >70% of Qmax |  | 0 | #DIV/0!
Summary | [13 empty] | Yield >60% of Qmax |  | 0 | #DIV/0!
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | - | - | - | - | - | - | - | -
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | - | - | - | - | - | - | - | -
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | #VALUE!
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | bar: A to H
Maximum | bar: A to H
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23

## Cooldown 3
Sample ID |  | 240930_U3 | <-- | Add your sampel ID in cell D1
R_sheet (RT) |  | 371 | Tc |  | 9.52 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 486 | Film thickness |  | 7.4 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 0.1855 | 0.1855 | 0.1855 | 0.1855 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | [10 empty] | 2 | [8 empty] | 2 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | [10 empty] | 3 | [8 empty] | 3 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | [10 empty] | 4 | [8 empty] | 4 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | [10 empty] | 5 | [8 empty] | 5 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | [10 empty] | 6 | [8 empty] | 6 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | [10 empty] | 7 | [8 empty] | 7 | 3.3202 | 2.5924 | 2.1681 | 2.1681 | 1.7601 | 1.7601 | 1.4746 | 1.4746 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | [10 empty] | 8 | [8 empty] | 8 | 0.0371 | 0.0371 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 1.4398 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded. | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
2 | [10 empty] | 2 | [8 empty] | 2 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
3 | [10 empty] | 3 | [8 empty] | 3 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
4 | [10 empty] | 4 | [8 empty] | 4 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
5 | [10 empty] | 5 | [8 empty] | 5 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
6 | [10 empty] | 6 | [8 empty] | 6 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
7 | [10 empty] | 7 | [8 empty] | 7 | 25.1924 | 28.3415 | 31.4905 | 31.4905 | 34.6396 | 34.6396 | 37.7887 | 37.7887
8 | [10 empty] | 8 | [8 empty] | 8 | 157.4527 | 157.4527 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905 | 31.4905
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths |  |  | Number of detectors | 0
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 0 | #DIV/0! | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 0 | #DIV/0!
[14 empty] | Yield >70% of Qmax |  | 0 | #DIV/0!
Summary | [13 empty] | Yield >60% of Qmax |  | 0 | #DIV/0!
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | - | - | - | - | - | - | - | -
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | - | - | - | - | - | - | - | -
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | #VALUE!
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | bar: A to H
Maximum | bar: A to H
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23