## Cooldown 1
Sample ID |  | 250703 U1
R_sheet (RT) |  | 429 | Tc |  | 9.1 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 515 | Film thickness |  | 7.94 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  | Holder Nr |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | 4.214 | 3.194 | 2.626 | 2.564 | 0.163 | 0.166 | 0.166 | 0.175 |  |  | 1 | 1.0976 | 1.0655 | 1.0474 | 1.0227 | 0.75991 | 0.77389 | 0.77389 | 0.81585 | 1 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 0.2145 | 0.2145 | 0.2145 | 0.2145 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | 4.214 | 4.277 | 2.518 | 2.588 | 2.1 | 2.099 | 1.673 | 1.74 |  |  | 2 | 1.0976 | 1.4268 | 1.0044 | 1.0323 | 1.0318 | 1.0313 | 0.98116 | 1.0205 | 2 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | 4.18 | 3.242 | 2.259 | 2.511 | 2.087 | 2.104 | 1.747 | 1.754 |  |  | 3 | 1.0887 | 1.0815 | 0.90106 | 1.0016 | 1.0254 | 1.0338 | 1.0246 | 1.0287 | 3 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | 4.208 | 3.182 | 2.631 | 2.578 | 2.075 | 2.102 | 1.737 | 1.743 |  |  | 4 | 1.096 | 1.0615 | 1.0494 | 1.0283 | 1.0195 | 1.0328 | 1.0187 | 1.0222 | 4 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | 4.303 | 3.236 | 2.526 | 2.593 | 2.092 | 2.093 | 1.729 | 1.731 |  |  | 5 | 1.1208 | 1.0795 | 1.0076 | 1.0343 | 1.0279 | 1.0284 | 1.014 | 1.0152 | 5 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | 4.293 | 3.24 | 2.571 | 2.599 | 2.088 | 2.023 | 1.72 | 1.718 |  |  | 6 | 1.1182 | 1.0808 | 1.0255 | 1.0367 | 1.0259 | 0.99397 | 1.0087 | 1.0076 | 6 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | 4.305 | 3.239 | 2.582 | 2.615 | 1.978 | 2.094 | 1.739 | 1.738 |  |  | 7 | 1.1213 | 1.0805 | 1.0299 | 1.0431 | 0.97186 | 1.0289 | 1.0199 | 1.0193 | 7 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | cannot reach | cannot reach | cannot reach | cannot reach | cannotreach | cannotreach | cannotreach | cannotreach |  |  | 8 | [8 empty] | 8 | 0.0429 | 0.0429 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | 4.2453 | 3.3729 | 2.5304 | 2.5783 | 2.07 | 2.0858 | 1.7242 | 1.7373 |  |  | Average | 1.1057 | 1.1252 | 1.0093 | 1.0284 | 1.0171 | 1.0248 | 1.0112 | 1.0189
Max | 4.305 | 4.277 | 2.631 | 2.615 | 2.1 | 2.104 | 1.747 | 1.754 |  |  | Max | 1.1213 | 1.4268 | 1.0494 | 1.0431 | 1.0318 | 1.0338 | 1.0246 | 1.0287 | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded.
[11 empty] | Average of all widths | 1.0426 |  |  | Maximum of all widths | 1.4268
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | 5.69 | 10.07 | 9.49 | 3.15 | 6.88 | 9.2 | 9.2 | 9.2 |  |  | 1 | 0.2669 | 0.41987 | 0.35612 | 0.11821 | 0.25818 | 0.34524 | 0.34524 | 0.34524 | 1 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
2 | 8.46 | 2.88 | 6.07 | 7.12 | 4.6 | 3.59 | 0.1 | 12.72 |  |  | 2 | 0.39684 | 0.12008 | 0.22778 | 0.26718 | 0.15693 | 0.12247 | 0.0031271 | 0.39777 | 2 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
3 | 5.05 | 11.22 | 13.78 | 14.26 | 9.18 | 9.19 | 9.19 | 14.56 |  |  | 3 | 0.23688 | 0.46782 | 0.51711 | 0.53512 | 0.31317 | 0.31351 | 0.28739 | 0.45531 | 3 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
4 | 3.88 | 11.22 | 13.78 | 11.39 | 9.2 | 15.18 | 0.1 | 9.18 |  |  | 4 | 0.182 | 0.46782 | 0.51711 | 0.42742 | 0.31385 | 0.51786 | 0.0031271 | 0.28707 | 4 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
5 | 8.43 | 11.52 | 11.97 | 6.73 | 6.91 | 16.07 | 13.64 | 15.49 |  |  | 5 | 0.39543 | 0.48033 | 0.44918 | 0.25255 | 0.23573 | 0.54822 | 0.42654 | 0.4844 | 5 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
6 | 8.8 | 12.19 | 7.91 | 13.92 | 14.72 | 11.87 | 17.03 | 17.02 |  |  | 6 | 0.41278 | 0.50827 | 0.29683 | 0.52236 | 0.50216 | 0.40494 | 0.53255 | 0.53224 | 6 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
7 | 9.81 | 6.79 | 12.91 | 13.93 | 14.72 | 14.57 | 12.73 | 14.87 |  |  | 7 | 0.46016 | 0.28311 | 0.48446 | 0.52273 | 0.50216 | 0.49705 | 0.39809 | 0.46501 | 7 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
8 | 64.3 | 62.07 | 13.93 | 6.65 | 6.42 | 9.01 | 0.1 | 3.7 |  |  | 8 | 0.48258 | 0.46585 | 0.52273 | 0.24955 | 0.24092 | 0.33811 | 0.0037526 | 0.13885 | 8 | 133.2417 | 133.2417 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
Average | 7.16 | 9.4129 | 10.8443 | 10.0714 | 9.8883 | 11.745 | 8.7983 | 13.9733 |  |  | Average | 0.33586 | 0.39247 | 0.40694 | 0.37794 | 0.33733 | 0.40067 | 0.27514 | 0.43697
Max | 9.81 | 12.19 | 13.78 | 14.26 | 14.72 | 16.07 | 17.03 | 17.02 |  |  | Max | 0.46016 | 0.50827 | 0.51711 | 0.53512 | 0.50216 | 0.54822 | 0.53255 | 0.53224
[11 empty] | Average of all widths | 0.37041 |  |  | Maximum of all widths | 0.54822 |  | Number of detectors | 52
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 13 | 25 | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 22 | 42.3077
[14 empty] | Yield >70% of Qmax |  | 31 | 59.6154
Summary | [13 empty] | Yield >60% of Qmax |  | 35 | 67.3077
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | 0.61263 | 0.71591 | 0.7423 | 0.68939 | 0.61533 | 0.73086 | 0.50188 | 0.79707
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | 0.72987 | 0.77218 | 0.78696 | 0.70627 | 0.67176 | 0.73086 | 0.51664 | 0.82099
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | 0.67567
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | 4.2453 | 3.3729 | 2.5304 | 2.5783 | 2.07 | 2.0858 | 1.7242 | 1.7373
Maximum | 4.305 | 4.277 | 2.631 | 2.615 | 2.1 | 2.104 | 1.747 | 1.754
Stdv | 0.048966 | 0.36981 | 0.11796 | 0.031212 | 0.66843 | 0.67232 | 0.54571 | 0.5468
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 7.16 | 9.4129 | 10.8443 | 10.0714 | 9.8883 | 11.745 | 8.7983 | 13.9733
Maximum | 9.81 | 12.19 | 13.78 | 14.26 | 14.72 | 16.07 | 17.03 | 17.02
Stdv | 2.0835 | 3.1322 | 2.8287 | 4.0842 | 3.6304 | 4.0898 | 6.0742 | 2.8487
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 1.1057 | 1.1252 | 1.0093 | 1.0284 | 1.0171 | 1.0248 | 1.0112 | 1.0189
Maximum | 1.1213 | 1.4268 | 1.0494 | 1.0431 | 1.0318 | 1.0338 | 1.0246 | 1.0287
Stdv | 0.012754 | 0.12336 | 0.047051 | 0.01245 | 0.091974 | 0.088759 | 0.084077 | 0.071301
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 0.33586 | 0.39247 | 0.40694 | 0.37794 | 0.33733 | 0.40067 | 0.27514 | 0.43697
Maximum | 0.46016 | 0.50827 | 0.51711 | 0.53512 | 0.50216 | 0.54822 | 0.53255 | 0.53224
Stdv | 0.097731 | 0.1306 | 0.10615 | 0.15326 | 0.12172 | 0.13755 | 0.19148 | 0.078981
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | 0.0895 | 0.10459 | 0.10844 | 0.10071 | 0.089894 | 0.10677 | 0.073319 | 0.11644
Maximum | 0.12263 | 0.13544 | 0.1378 | 0.1426 | 0.13382 | 0.14609 | 0.14192 | 0.14183
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | 6.635 | - | 6.635 | 0.24898 | 0.06635
Maximum | 13.93 | - | 13.93 | 0.52273 | 0.1393
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23

## Cooldown 2
Sample ID |  | 250703 U1 | <-- | Add your sampel ID in cell D1
R_sheet (RT) |  | 429 | Tc |  | 9.1 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 515 | Film thickness |  | 7.94 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 0.2145 | 0.2145 | 0.2145 | 0.2145 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | [10 empty] | 2 | [8 empty] | 2 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | [10 empty] | 3 | [8 empty] | 3 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | [10 empty] | 4 | [8 empty] | 4 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | [10 empty] | 5 | [8 empty] | 5 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | [10 empty] | 6 | [8 empty] | 6 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | [10 empty] | 7 | [8 empty] | 7 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | [10 empty] | 8 | [8 empty] | 8 | 0.0429 | 0.0429 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded. | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
2 | [10 empty] | 2 | [8 empty] | 2 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
3 | [10 empty] | 3 | [8 empty] | 3 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
4 | [10 empty] | 4 | [8 empty] | 4 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
5 | [10 empty] | 5 | [8 empty] | 5 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
6 | [10 empty] | 6 | [8 empty] | 6 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
7 | [10 empty] | 7 | [8 empty] | 7 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
8 | [10 empty] | 8 | [8 empty] | 8 | 133.2417 | 133.2417 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths |  |  | Number of detectors | 0
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 0 | #DIV/0! | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 0 | #DIV/0!
[14 empty] | Yield >70% of Qmax |  | 0 | #DIV/0!
Summary | [13 empty] | Yield >60% of Qmax |  | 0 | #DIV/0!
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | - | - | - | - | - | - | - | -
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | - | - | - | - | - | - | - | -
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | #VALUE!
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | bar: A to H
Maximum | bar: A to H
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23

## Cooldown 3
Sample ID |  | 250703 U1 | <-- | Add your sampel ID in cell D1
R_sheet (RT) |  | 429 | Tc |  | 9.1 | Diffusivity |  | 0.5 | Gap factor |  | 1.76 |  | T he | T chu | Time |  | Notes
R_sheet (20K) |  | 515 | Film thickness |  | 7.94 | Op. temperature |  | 4.5
#154 A | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  | Noise level
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  |  |  | He level before
RT_resist | [10 empty] | R-factor | [11 empty] | Expected resistance | [5 empty] | Detector length/wire width (calculated from fixed length to the right and wire width table to the left) | [8 empty] | Detector length (µm) | bar: A to D
MOhm | A | B | C | D | E | F | G | H |  |  | MOhm | A | B | C | D | E | F | G | H | MOhm | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 0.2145 | 0.2145 | 0.2145 | 0.2145 | 1 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 500 | 500 | 500 | 500 | 1 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 50 | 50 | 50 | 50
2 | [10 empty] | 2 | [8 empty] | 2 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 2 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 2 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
3 | [10 empty] | 3 | [8 empty] | 3 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 3 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 3 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
4 | [10 empty] | 4 | [8 empty] | 4 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 4 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 4 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
5 | [10 empty] | 5 | [8 empty] | 5 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 5 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 5 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
6 | [10 empty] | 6 | [8 empty] | 6 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 6 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 6 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
7 | [10 empty] | 7 | [8 empty] | 7 | 3.8393 | 2.9977 | 2.5071 | 2.5071 | 2.0353 | 2.0353 | 1.7051 | 1.7051 | 7 | 8949.4197 | 6987.6175 | 5843.9457 | 5843.9457 | 4744.2098 | 4744.2098 | 3974.6506 | 3974.6506 | 7 | 715.9536 | 628.8856 | 584.3946 | 584.3946 | 521.8631 | 521.8631 | 476.9581 | 476.9581
8 | [10 empty] | 8 | [8 empty] | 8 | 0.0429 | 0.0429 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 1.6648 | 8 | 100 | 100 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 3880.765 | 8 | 50 | 50 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765 | 388.0765
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | [18 empty] | Detector length extracted from Klayout. Selecting all Wires+Bends and calculate the perimeter. Perimeter devided by 2 equals the detector length. Taper is excluded. | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths
I_sw | [10 empty] | Q-factor | [11 empty] | Expected switching current | bar: A to D
µA/MHz | A | B | C | D | E | F | G | H |  |  | µA/MHz | A | B | C | D | E | F | G | H | µA/MHz | A | B | C | D | E | F | G | H
1 | [10 empty] | 1 | [8 empty] | 1 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
2 | [10 empty] | 2 | [8 empty] | 2 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
3 | [10 empty] | 3 | [8 empty] | 3 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
4 | [10 empty] | 4 | [8 empty] | 4 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
5 | [10 empty] | 5 | [8 empty] | 5 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
6 | [10 empty] | 6 | [8 empty] | 6 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
7 | [10 empty] | 7 | [8 empty] | 7 | 21.3187 | 23.9835 | 26.6483 | 26.6483 | 29.3132 | 29.3132 | 31.978 | 31.978
8 | [10 empty] | 8 | [8 empty] | 8 | 133.2417 | 133.2417 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483 | 26.6483
Average | [10 empty] | Average | - | - | - | - | - | - | - | - | bar: A to H
Max | [10 empty] | Max | - | - | - | - | - | - | - | - | bar: A to H
[11 empty] | Average of all widths |  |  |  | Maximum of all widths |  |  | Number of detectors | 0
Return Current | bar: A to B
Device | [15 empty] | Number | Percent (%) | bar: A to B
Heat Conductance | [13 empty] | Yield >90% of Qmax |  | 0 | #DIV/0! | Ideally all those values are 100% for perfect yield; the closer to 100% the better | bar: A to B
[14 empty] | Yield >80% of Qmax |  | 0 | #DIV/0!
[14 empty] | Yield >70% of Qmax |  | 0 | #DIV/0!
Summary | [13 empty] | Yield >60% of Qmax |  | 0 | #DIV/0!
Wire widths (reading values from above) | [11 empty] | Norm. Deviation from Qmax (=1-(Qmax-Qavg)/Qmax)
#154 A | A | B | C | D | E | F | G | H |  |  |  | A | B | C | D | E | F | G | H
1 | 80 | 90 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | Using overall Qmax | - | - | - | - | - | - | - | -
2 - 7 | 80 | 90 | 100 | 100 | 110 | 110 | 120 | 120 |  |  | Using column Qmax | - | - | - | - | - | - | - | -
8 | 500 | 500 | 100 | 100 | 100 | 100 | 100 | 100 |  |  | All | #VALUE!
Detector resistance (ignoring row 8) | [11 empty] | Ideally all those values are 1 for perfect yield; the closer to 1 the better
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Switching currents (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
R-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Q-factor (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Stdv | bar: A to H
Isw/width [µA/nm] (ignoring row 8)
#154 A | A | B | C | D | E | F | G | H
Average | bar: A to H
Maximum | bar: A to H
Reference detectors (row 8, column C-H)
#154 A | R | R-factor | Isw | Q | Isw/WW
Average | bar: A to H
Maximum | bar: A to H
Constants for calculator: do not change!!!
h_bar | A: 1.0545e-34
electron charge | A: 1.6022e-19
Boltzmann | A: 1.38e-23